****



**Create your B-800 microscope now:**

***First Eyepiece***

None

M-1001 - WF10x/22mm eyepiece (pair)

M-1003 - WF15X/16mm

M-781 - WF10x/22mm micrometer eyepiece (10mm,div.0,1mm)





Product Details



***Second Eyepiece (optional)***

None

M-1001 - WF10x/22mm eyepiece (pair)

M-1003 - WF15X/16mm

M-781 - WF10x/22mm micrometer eyepiece (10mm,div.0,1mm)





*Heads*

None

M-1010 - Trinocular Head (2 positions)

M-1012 - Binocular ERGO head

M-1013 - Trinocular ERGO head

€



Product Details



*Main body*

None

M-1020 - Main body with focus system and X-LED3 illumination







*Objectives*

None

M-1050 - 4x IOS PLAN objective

M-1051 - 10x IOS PLAN objective

M-1052 - 20x IOS PLAN objective

M-1053 - 40x IOS PLAN objective

M-1054 - 60x IOS PLAN objective

M-1055 - 100x IOS PLAN objective

M-1060 - 4x IOS Semi-APO FLUO E-PLAN

M-1061 - 10x IOS Semi-APO FLUO E-PLAN

M-1062 - 20x IOS Semi-APO FLUO E-PLAN

M-1063 - 40x IOS Semi-APO FLUO E-PLAN

M-1064 - 100x IOS Semi-APO FLUO E-PLAN

M-1120.N - 10x IOS PLAN objective, for Phase Contrast

M-1121.N - 20x IOS PLAN objective, for Phase Contrast

M-1122.N - 40x IOS PLAN objective, for Phase Contrast

M-1123.N - 100x IOS PLAN objective, for Phase Contrast





*Second objective (optional)*

None

M-1050 - 4x IOS PLAN objective

M-1051 - 10x IOS PLAN objective

M-1052 - 20x IOS PLAN objective

M-1053 - 40x IOS PLAN objective

M-1054 - 60x IOS PLAN objective

M-1055 - 100x IOS PLAN objective

M-1060 - 4x IOS Semi-APO FLUO E-PLAN

M-1061 - 10x IOS Semi-APO FLUO E-PLAN

M-1062 - 20x IOS Semi-APO FLUO E-PLAN

M-1063 - 40x IOS Semi-APO FLUO E-PLAN

M-1064 - 100x IOS Semi-APO FLUO E-PLAN

M-1120.N - 10x IOS PLAN objective, for Phase Contrast

M-1121.N - 20x IOS PLAN objective, for Phase Contrast

M-1122.N - 40x IOS PLAN objective, for Phase Contrast

M-1123.N - 100x IOS PLAN objective, for Phase Contrast







*Third objective (optional)*

None

M-1050 - 4x IOS PLAN objective

M-1051 - 10x IOS PLAN objective

M-1052 - 20x IOS PLAN objective

M-1053 - 40x IOS PLAN objective

M-1054 - 60x IOS PLAN objective

M-1055 - 100x IOS PLAN objective

M-1060 - 4x IOS Semi-APO FLUO E-PLAN

M-1061 - 10x IOS Semi-APO FLUO E-PLAN

M-1062 - 20x IOS Semi-APO FLUO E-PLAN

M-1063 - 40x IOS Semi-APO FLUO E-PLAN

M-1064 - 100x IOS Semi-APO FLUO E-PLAN

M-1120.N - 10x IOS PLAN objective, for Phase Contrast

M-1121.N - 20x IOS PLAN objective, for Phase Contrast

M-1122.N - 40x IOS PLAN objective, for Phase Contrast

M-1123.N - 100x IOS PLAN objective, for Phase Contrast





*Fourth objective (optional)*

None

M-1050 - 4x IOS PLAN objective

M-1051 - 10x IOS PLAN objective

M-1052 - 20x IOS PLAN objective

M-1053 - 40x IOS PLAN objective

M-1054 - 60x IOS PLAN objective

M-1055 - 100x IOS PLAN objective

M-1060 - 4x IOS Semi-APO FLUO E-PLAN

M-1061 - 10x IOS Semi-APO FLUO E-PLAN

M-1062 - 20x IOS Semi-APO FLUO E-PLAN

M-1063 - 40x IOS Semi-APO FLUO E-PLAN

M-1064 - 100x IOS Semi-APO FLUO E-PLAN

M-1120.N - 10x IOS PLAN objective, for Phase Contrast

M-1121.N - 20x IOS PLAN objective, for Phase Contrast

M-1122.N - 40x IOS PLAN objective, for Phase Contrast

M-1123.N - 100x IOS PLAN objective, for Phase Contrast







*Fifth objective (optional)*

None

M-1050 - 4x IOS PLAN objective

M-1051 - 10x IOS PLAN objective

M-1052 - 20x IOS PLAN objective

M-1053 - 40x IOS PLAN objective

M-1054 - 60x IOS PLAN objective

M-1055 - 100x IOS PLAN objective

M-1060 - 4x IOS Semi-APO FLUO E-PLAN

M-1061 - 10x IOS Semi-APO FLUO E-PLAN

M-1062 - 20x IOS Semi-APO FLUO E-PLAN

M-1063 - 40x IOS Semi-APO FLUO E-PLAN

M-1064 - 100x IOS Semi-APO FLUO E-PLAN

M-1120.N - 10x IOS PLAN objective, for Phase Contrast

M-1121.N - 20x IOS PLAN objective, for Phase Contrast

M-1122.N - 40x IOS PLAN objective, for Phase Contrast

M-1123.N - 100x IOS PLAN objective, for Phase Contrast





*Sixth objective (optional)*

None

M-1050 - 4x IOS PLAN objective

M-1051 - 10x IOS PLAN objective

M-1052 - 20x IOS PLAN objective

M-1053 - 40x IOS PLAN objective

M-1054 - 60x IOS PLAN objective

M-1055 - 100x IOS PLAN objective

M-1060 - 4x IOS Semi-APO FLUO E-PLAN

M-1061 - 10x IOS Semi-APO FLUO E-PLAN

M-1062 - 20x IOS Semi-APO FLUO E-PLAN

M-1063 - 40x IOS Semi-APO FLUO E-PLAN

M-1064 - 100x IOS Semi-APO FLUO E-PLAN

M-1120.N - 10x IOS PLAN objective, for Phase Contrast

M-1121.N - 20x IOS PLAN objective, for Phase Contrast

M-1122.N - 40x IOS PLAN objective, for Phase Contrast

M-1123.N - 100x IOS PLAN objective, for Phase Contrast







*Stages*

None

M-1140 - Standard Mechanical Stage

M-1141 - Belt Drive Mechanical Stage

M-1142 - Ceramic Coated Mechanical Stage

M-1143 - MPC (mineral solid surface) Belt drive Mechanical Stage

M-1144 - Heating Stage





*First Condenser*

None

M-1150 - 0,90 N.A. Swing-Out Condenser

M-1151 - 1,2 N.A. Swing-Out Condenser

M-1152.N - Phase contrast condenser 10x, 20x, 40x, 100x, BF, DF







*Second condenser (optional)*

None

M-1150 - 0,90 N.A. Swing-Out Condenser

M-1151 - 1,2 N.A. Swing-Out Condenser

M-1152.N - Phase contrast condenser 10x, 20x, 40x, 100x, BF, DF





*First Accessory*

None

CL-02 - Spare halogen lamp, 100W

CL-21 - Spare fluorescent lamp, 8W

M-005 - Micrometric slide, 26x76mm, range 1mm, div. 0,01mm

M-1004.N - Centering telescope, 30mm diameter

M-173 - Photo tube adapter for APS-C SLR camera

M-613 - Polarizing set (filters only)

M-615 - Lambda filter for polarizing set

M-617.1N - Phase contrast set with IOS PLAN objective 40x

M-618 - Darkfield condenser for dry objectives

M-619 - Photo tube adapter for full frame SLR camera

M-620 - CCD camera adapter for 1/3'' sensor

M-620.1 - CCD camera adapter for ½'' sensor

M-690 - Eyecup (pair)

M-699 - Photo tube adapter for DIGI digital camera

M-977 - Green filter, 45mm diameter







*Second Accessory*

None

CL-02 - Spare halogen lamp, 100W

CL-21 - Spare fluorescent lamp, 8W

M-005 - Micrometric slide, 26x76mm, range 1mm, div. 0,01mm

M-1004.N - Centering telescope, 30mm diameter

M-173 - Photo tube adapter for APS-C SLR camera

M-613 - Polarizing set (filters only)

M-615 - Lambda filter for polarizing set

M-617.1N - Phase contrast set with IOS PLAN objective 40x

M-618 - Darkfield condenser for dry objectives

M-619 - Photo tube adapter for full frame SLR camera

M-620 - CCD camera adapter for 1/3'' sensor

M-620.1 - CCD camera adapter for ½'' sensor

M-690 - Eyecup (pair)

M-699 - Photo tube adapter for DIGI digital camera

M-977 - Green filter, 45mm diameter







*Third Accessory*

None

CL-02 - Spare halogen lamp, 100W

CL-21 - Spare fluorescent lamp, 8W

M-005 - Micrometric slide, 26x76mm, range 1mm, div. 0,01mm

M-1004.N - Centering telescope, 30mm diameter

M-173 - Photo tube adapter for APS-C SLR camera

M-613 - Polarizing set (filters only)

M-615 - Lambda filter for polarizing set

M-617.1N - Phase contrast set with IOS PLAN objective 40x

M-618 - Darkfield condenser for dry objectives

M-619 - Photo tube adapter for full frame SLR camera

M-620 - CCD camera adapter for 1/3'' sensor

M-620.1 - CCD camera adapter for ½'' sensor

M-690 - Eyecup (pair)

M-699 - Photo tube adapter for DIGI digital camera

M-977 - Green filter, 45mm diameter







*Fourth Accessory*

None

CL-02 - Spare halogen lamp, 100W

CL-21 - Spare fluorescent lamp, 8W

M-005 - Micrometric slide, 26x76mm, range 1mm, div. 0,01mm

M-1004.N - Centering telescope, 30mm diameter

M-173 - Photo tube adapter for APS-C SLR camera

M-613 - Polarizing set (filters only)

M-615 - Lambda filter for polarizing set

M-617.1N - Phase contrast set with IOS PLAN objective 40x

M-618 - Darkfield condenser for dry objectives

M-619 - Photo tube adapter for full frame SLR camera

M-620 - CCD camera adapter for 1/3'' sensor

M-620.1 - CCD camera adapter for ½'' sensor

M-690 - Eyecup (pair)

M-699 - Photo tube adapter for DIGI digital camera

M-977 - Green filter, 45mm diameter





*Fifth Accessory*

None

CL-02 - Spare halogen lamp, 100W

CL-21 - Spare fluorescent lamp, 8W

M-005 - Micrometric slide, 26x76mm, range 1mm, div. 0,01mm

M-1004.N - Centering telescope, 30mm diameter

M-173 - Photo tube adapter for APS-C SLR camera

M-613 - Polarizing set (filters only)

M-615 - Lambda filter for polarizing set

M-617.1N - Phase contrast set with IOS PLAN objective 40x

M-618 - Darkfield condenser for dry objectives

M-619 - Photo tube adapter for full frame SLR camera

M-620 - CCD camera adapter for 1/3'' sensor

M-620.1 - CCD camera adapter for ½'' sensor

M-690 - Eyecup (pair)

M-699 - Photo tube adapter for DIGI digital camera

M-977 - Green filter, 45mm diameter







Total Price:  £





Please send this form to support@Camlab.co.uk to complete this quotation