| Butcher Logger EBI-2T-F |
| --- |
|  | Technical Data Memory 40.000 values (can save for over 1 year) Measuring range -40 to +75°C Measuring accuracy ±0.4°C ± 1 Digit Resolution 0.1°C Data output RS 232 Display function Housing temperature -20 to +50°C Measuring mode endlesss, Start/Stop Battery 3,6 V Lithium Battery life approx. 5 to 8 years Dimensions 96 x 48 x 28 mm Weight 100 g Protection class IP 65 Certificate 3 point factory calibration Product-No 1621-1000 |