| Temperature Data Logger EBI-2T-112 |
| --- |
|  | Technical Data Memory 40.000 values (can be saved for over 1 year) Measuring range -40 up to +75°C Measuring accuracy ±0.2°C ± 1 Digit Resolution 0.1°C Data output RS 232 Display function readable at -20 to +50°C Measuring mode endless, Start/Stop Battery 3,6 V Lithium Battery life approx. 5 to 8 years Dimensions 96 x 48 x 28 mm Weight 100 g Protection class IP 65 Certificate 3 point factory calibration Product-No 1640-1103 |
| Applications |
| Temperature recording Cooling chambers and freezers Temperature monitoring during transport |
| Attributes |
| Programming and evaluation with PC Current values shown on display Factory calibration certificate No network connection required High accuracy Also available in Ex-version |