| Saltmeter Set EB 5000-N with Saltmeter SSX 210 |
| --- |
|  | Technical Data Type SSX 210 Measuring range 0 to 100 Measuring accuracy at 25°C ± 1 Digit Resolution 1 Digit Operating temperature +10 bis +40°C Battery 9V-Block Battery life ca. 1000 h Probe gold-plated electrodes Protection class IP 54 Dimensions 46 x 25 x 100mm Weight ca. 200 g Product-No 1341-3904 |
| Attributes |
| Easy operation Handy and robust Relative salt content The Saltmeter-Set consists of salt meter and case |