| Hygrothermometer TFH 620 |
| --- |
|  | Technical Data Type TFH 620 Measuring range humidity 0 to 100% r H Measuring range temperature 0 to 60°C Accuracy humidity ± 2% rH (from 5 to 95%) Accuracy temperature ±0.3% Resolution humidity 0.1% Resolution temperature 0.1%C Operating temperature 0°C to +50°C Storage temperature -25°C to +60°C Protection class IP 67 (device without probe) Dimensions 115 x 54 x 22mm Housing material ABS Weight approc. 90 g Display LCD Sensor humidity capacitive Sensor temperature Pt 1000 Probe position external Probe connection removable probe Measuring channels 2 Battery Lithium button cell, 3.0 volt, 1000 mAh Battery life up to 5 years Measuring rate 1-15 sec Product-No 1340-5610 |
| Eigenschaften |
| Robust and impact resistant High accuracy °C/°F switchable Dew point calculation Battery charge indicator Automatic deactivation Factory calibration certificate |