| Tribocheck Oil Quality Measuring Instrument |
| --- |
|  | Technical Data Measuring range 0 to 100% Temperature range for oil measurement 0 to +80°C Resolution 1% Measuring range 0 to +220°C Resolution 1°C Accuracy ±1°C Probe length 130mm Sensor V4A, gold and ceramic Response time Measuring result after 5 s Dimensions 125x54x22 mm Battery 3,6V Lithium Product-No 1340-1515 |
| Applications |
| For all transmission, hydraulic and motor oils Trucks Construction machines Industrial hydraulic systems |
| Attributes |
| Reliable determination of lubricating ability and pressure resistance Measures directly in the fine filtering system (present or to be installed) Result visible in display in 5 seconds Easy operation |