## Sheet1
| Traditional Ducted HoodHood | Low Flow Ducted Hood | Green Fume Hood | Traditional Ductless Hood | Notes
Energy Cost p.a. | 3000 | 1500 | 50 | 50 | Cost of running unit plus energy costs to reheat/cool replaced air. Typical ducted units use 3.5 times as much energy as a house.
Operating Cost p.a. | 400 | 400 | 1250 | 1000 | Filters parts and Maintenance. Based on a three filter ductless unit. Note - standard units also require dust filters.
Ductwork Cost p.a. | 1000* | £1000* | 0 | 0 | * Based on a £10k ductwork installtion depreciated over 10 years.
Ease of Planning | Difficult | Difficult | Easy | Easy | No pre-planning is required for a Ductless unit. Just a plug!
Adaptability | Low | Low | High | High | Ductless Fume Hoods can be easily moved or changed for other use e.g. HEPA
Usage Spectrum | 100% | 100% | 99.9% | 70% | Ducted offers the widest spectrum but fumes are expelled into the surrounding environment untreated.